Permission for Indoor Air Quality (IAQ) Assessment

This is to confirm that permission has been granted to the _______________________ to perform an indoor air quality assessment within this residential property.  It is understood that the __________________________ may use and share the information gathered during the assessment with other intra-tribal programs.  The information gathered during the assessment will kept on file at the ______________________ and may also be used as part of reporting procedures to funding agencies.

On Behalf of the _______________________, we would like to thank you for your voluntary participation in this assessment.  Please do not hesitate to call _____________________ with any questions or concerns at ___________________.

------------------------------------------------------------------------------------------------------------

Resident (owner/renter):

Name (print)	____________________________________________________

Residential	____________________________________________________

Address

____________________________________________________

Phone	______________________________

Signature 	______________________________	Date _______________

Tribal Program (representative/technician/specialist)

Name (print) 	____________________________________________

Tribal Program	____________________________________________

Address	____________________________________________

____________________________________________

Phone	________________________

Signature	________________________	Date & Time________________

INDOOR AIR QUALITY

ASSESSMENT CHECKLIST

CONDITIONS OUTSIDE THE RESIDENTIAL PROPERTY

Weather

Ambient Conditions (circle one):	Sunny	Raining	Cloudy

Temperature _________ ((F or (C)	Relative Humidity	_________(%)

Predominate Wind Direction (winds coming from…) ____________________

Wind Speed ________

# Outdoor Sources

1.  Circle all the facilities below that are closest to the residential property:

Airport	Factory _____________________________

Auto Body		Farm(s) _____________________________

Agricultural Fields	Gas Station

Bus Station	Railway Station

Dry cleaners	Other ______________________________

2.  Are there unpaved areas or areas with no vegetative cover nearby home (please circle)?

Yes / No	Briefly describe: ________________________________________

3.  Is there evidence of windblown dust around residential property (please circle)?

Yes / No	Briefly describe: ___________________________________________

4.  Are there any woodstoves, fireplaces, barbeques or outdoor burning at nearby residences

Yes / No	If yes, estimate distance from residential property:

_____________________________________________________________

#### General Information about Residential Home

1.  Type (circle one):

Adobe/Stucco 	Modular

Apartment	Stick Built

Masonry	Steel Frame

Mobile Home	Other ______________

If apartment complex, how many stories high? _________

2.  Age of Home: _________	Number of occupants in household __________

3.  Number of levels/floors of residential property:  __________

4.  Square footage of first floor: ____(sq.ft.)	Square footage of second floor ____(sq.ft.)

NOTE: To calculate, multiply the width of the house by its length to obtain square footage.

#### Crawlspace

Based on observation, Indicate Yes or No for the following if they exist and comment on extent of damage if evident:

1.  Is there evidence of moisture, mildew and/or mold?  Yes / No	Describe: _________

_____________________________________________________________________

2.  Are there any visible water stains?  Yes / No	Describe: _______________________

_____________________________________________________________________

3.  Do you see any discoloration on floor/walls?  Yes / No	Describe: _______________

_____________________________________________________________________

4.  Are any odors present such as sewer gas, dead animals, chemicals, etc.?  Yes / No

Describe _____________________________________________________________

5.  Is there evidence of plumbing leaks? Yes / No	Describe: _______________________

__________________________

6.  Is crawlspace vented? Yes / No

7.  Is crawlspace area dry?  Yes / No

8.  Is soil covered with durable plastic sheeting? Yes / No

If yes, is it for reducing moisture or radon mitigation? ______________________

__________________________________________________________________

9.  Is there evidence of pests in the crawlspace? Yes / No	Describe ________________

________________________________________________________________________

# Roof

1.  Condition:	Good	Fair	Poor	Comments: ________________________

2.  Roof type (circle all that apply):

Asphalt Roll	Wood

Metal	Other: _____________________

Three Tab

# Exterior Siding

1.  Condition: 	Good	Fair	Poor	Comments: ________________________

2.  Type of siding (circle all that apply):

CDX plywood	Metal

Cedar Shingle	T1-11

Cedar Lap	Vinyl

Hardi-board	Other: __________________________

Masonry

3.  Exterior Door Condition:

a.  Front Door:	Good	Fair	Poor	Comments: ____________________

b.  Back Door:	Good	Fair	Poor	Comments: ____________________

CONDITIONS INSIDE THE RESIDENTIAL PROPERTY

1.  Number of Bedrooms _________	Number of Bathrooms _________

2.  	a.  Which type of heating system do you use?

Central Heating/Cooling

Electric baseboard

Forced air

Fuel:	Propane	Natural Gas	Kerosene	Other: __________

Heat pump

Portable heater: ____________________________

Portable air conditioner

Other: _________________________

b.  Is this your primary or secondary source of heating/cooling? ______________

- If central heating/ air conditioning is used, what is the condition of the filters:

i.  Heating unit:	Good	Fair	Poor	Comments: ______________

ii. Heating unit:	Good	Fair	Poor	Comments: ______________

c.  Is there an air cleaner within the duct units (installed in central heating and/or air conditioning)?  Yes / No	Describe: _____________________________

d.  Is a portable air cleaner used in the home (ozone-producing)?  If so, which type:	Electrostatic precipitator	Ion generator

Hybrid device	Mechanical filtration

3.	a.  Do you smell moldy or dusty odors when the heating or cooling equipment is operating?  Yes / No	Describe: ________________________________

b.  Check the condition of the filters for the heating/cooling system.  Does the filter need to be replaced?  Yes / No

4.  If fireplace is used,

a.  Where is wood stored? ______________

b.  Is there sufficient air exchange?  Yes / No	Describe: __________________

c.  Do you detect odors from fireplace?  Yes / No	Describe: _______________

d.  Is it vented to the outside?  Yes / No	Describe: _______________________

e.  Is there evidence of back drafting?  Yes / No

f.  Check condition of damper.  Is it operating properly?  Yes / No

g.  Is this your primary or secondary source of heating? _____________________

h.  How often do you use the fireplace (days, months, etc.)? _________________

i.  Condition of the fireplace: _________________________________________

_______________________________________________________________

5.  If woodstove is used,

a.  EPA Certified?  Yes / No

b.  Is there sufficient air exchange?  Yes / No	Describe: __________________

c.  Is there evidence of back drafting?  Yes / No	Describe: __________________

d.  Check condition of flue.  Is it operating properly?  Yes / No

e.  Is it vented to the outside?  Yes / No	Describe: _______________________

f.  Do you detect odors from woodstove?  Yes / No	Describe: ______________

g. How often do you use the woodstove (days, months, etc.)? ________________	h.  Condition of the wood stove: _______________________________________

_______________________________________________________________

6.  If Pellet Stove/Natural Gas/Propane Stove is used,

a.  EPA Certified?  Yes / No

b.  Is there sufficient air exchange?  Yes / No	Describe: __________________

c.  Is there evidence of back drafting?  Yes / No	Describe: __________________

d.  Check condition of flue.  Is it operating properly?  Yes / No

e.  Do you detect odors?  Yes / No	Describe: __________________________

- How often do you use the pellet/natural gas/propane stove (days, months, etc.)? _______________________

g.  Condition of the pellet/natural/propane stove: __________________________

_______________________________________________________________

7. What is the condition of the water heater:	Good	Fair	Poor	Comments: _____

_________________________________________________________________

a.  Indicate type of water heater:	Electric	Gas	Propane	Other: __________

b.  Is there any evidence of back drafting?  Yes / No	Describe: ______________

8.  Is there any evidence of fire damage?  Yes / No	Indicate date and describe extent of

damage: __________________________________________________________

__________________________________________________________

9.  Do you store any of the following in your home (circle all that apply)?

Herbicides	Pesticides	Insecticides	Other: ______________

10.  Do you frequently use pesticides indoors on pets, houseplants or other pests?

Yes / No	Describe: ________________________________________________

11.  Do you use a humidifier or dehumidifier in any of the rooms?  Yes / No

If yes, which and what rooms: _________________________________________

12.  If there is carpeting, does the resident use a vacuum cleaner regularly?  Yes / No

Comments: ___________________________________________________________

13.  If possible, test for evidence of lead in one or more rooms where residents spend the majority of their time.

Entryway

1.  Is a walk-off mat present in the entryway?  Yes / No	Describe: _________________

#### Living Room

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Is there any evidence of moisture, mildew and/or mold on:

a.  Walls?  Yes / No	Describe: _______________________________________

b.  Floor?  Yes / No	Describe: _______________________________________

c.  Ceiling?  Yes / No	Describe: ______________________________________

3.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

4.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

5.  Are pets permitted on furniture?  Yes / No

6.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

7.  Circle the cleaning products that you frequently in the living room area:

Air fresheners 	Furniture polish

Ammonia	Floor cleaners

Bleach products	Spot/Stain removers

Carpet shampoos	Other: ________________

Disinfectants

8.  Is there evidence of dust/particulate in the living room?  Yes / No	Describe: ______

__________________________________________________________________

#### Family Room/Den

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Is there any evidence of moisture, mildew and/or mold on:

a.  Walls?  Yes / No	Describe: _______________________________________

b.  Floor?  Yes / No	Describe: _______________________________________

c.  Ceiling?  Yes / No	Describe: ______________________________________

3.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

4.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

5.  Are pets permitted on furniture?  Yes / No

6.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

7.  Circle the cleaning products that you frequently in the living room area:

Air fresheners 	Furniture polish

Ammonia	Floor cleaners

Bleach products	Spot/Stain removers

Carpet shampoos	Other: ________________

Disinfectants

8.  Is there evidence of dust/particulate in the living room?  Yes / No	Describe: ______

__________________________________________________________________

#### Kitchen

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  	a.  Is there any evidence of moisture, mildew and/or mold on:

Walls?  Yes / No	Describe: _______________________________________

Floor?  Yes / No	Describe: _______________________________________

Ceiling?  Yes / No	Describe: ______________________________________

b.  Check plumbing.  Describe: ________________________________________

_______________________________________________________________

c.  Check for a plastic drip pan underneath the refrigerator and/or freezer, which catches condensation.  Describe: ____________________________________

3.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

4.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

5.  Is there an exhaust fan above the stove?  Yes / No

a.  Test and record flow readings: __________________ (cubic feet/minute)

b.  Describe fan condition:	Good	Fair	Poor

c.  Check condition of filter: 	Good	Fair	Poor

6.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

7.  Circle the cleaning products that you frequently in the kitchen:

Ammonia	Oven cleaners

Aerosol sprays	Scouring powders w/ bleach

Bleach products	Spot/Stain removers

Disinfectants	Other: ________________

Floor cleaners

#### Bathroom #1

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  	a.  Is there any evidence of moisture, mildew and/or mold on:

Walls?  Yes / No	Describe: _______________________________________

Floor?  Yes / No	Describe: _______________________________________

Ceiling?  Yes / No	Describe: ______________________________________

- Check plumbing.  Is there any evidence of stains and/or leaks:

Sink?  Yes / No	Describe: _______________________________________

Toilet?  Yes / No	Describe: _______________________________________

Tub or shower?  Yes / No	Describe: ________________________________

Other?  Yes / No	Describe: _______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Type of venting: 	Exhaust Fan	Window	Other: ________________

a.  If exhaust fan, test and record flow readings: ______ (cfm)

b.  Describe exhaust fan condition:	Good	Fair	Poor

7.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

8.  Circle the cleaning products that you frequently in the bathroom:

Ammonia	Floor cleaners

Aerosol sprays	Oven cleaners

Air Fresheners	Scouring powders w/ bleach

Bleach products	Spot/Stain removers

Carpet shampoos	Tub/Tile cleaners

Disinfectants	Other: ________________

NOTE:  If more than one bathroom at this residence, use additional sheets at the end of this checklist.

Utility Room

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  	a.  Is there any evidence of moisture, mildew and/or mold on:

Walls?  Yes / No	Describe: _______________________________________

Floor?  Yes / No	Describe: _______________________________________

Ceiling?  Yes / No	Describe: ______________________________________

b.  Check plumbing.  Is there any evidence of stains and/or leaks:

Sink?  Yes / No	Describe: _______________________________________

Toilet?  Yes / No	Describe: _______________________________________

Tub or shower?  Yes / No	Describe: ________________________________

Other?  Yes / No	Describe: _______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Type of venting: 	Exhaust Fan	Window	Other: ________________

a.  If exhaust fan, test and record flow readings: ______ (cfm)

b.  Describe exhaust fan condition:	Good	Fair	Poor

7.  Is there a clothes dryer?  Yes / No

a.  Is it vented to the outside?  Yes / No	Describe: _______________________

8.  Are clothes ever hung to dry indoors?  Yes / No

9.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

10.  Circle the cleaning products that you frequently in the bathroom:

Ammonia	Dry-cleaning fluids

Aerosol sprays	Floor cleaners

Air Fresheners	Oven cleaners

Bleach products	Scouring powders w/ bleach

Carpet shampoos	Spot/Stain removers

Detergents	Tub/Tile cleaners

Disinfectants	Other: ________________

Comments: _______________________________________________________

#### Bedroom #1

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  Is there any evidence of moisture, mildew and/or mold on:

a.  Walls?  Yes / No	Describe: _______________________________________

b.  Floor?  Yes / No	Describe: _______________________________________

c.  Ceiling?  Yes / No	Describe: ______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Are pets permitted on furniture?  Yes / No

7.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

8.  Circle the cleaning products that you frequently in the bedroom:

Air fresheners 	Furniture polish

Ammonia	Floor cleaners

Bleach products	Spot/Stain removers

Carpet shampoos	Other: ________________

Disinfectants

10.  Is there evidence of dust/particulate in the bedroom?  Yes / No	Describe: ______

__________________________________________________________________

#### Additional Notes & Observations

Health Questions  ( Optional )

1.  What are the health symptoms? ___________________________________________

____________________________________________________________________

2.  How many individuals in the home experience symptoms listed above? ___________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

1.  When do health symptoms occur (%)?

Spring _____	Summer_____	Fall_____	Winter_____

Daily _____	Occasionally _____

2.  Do symptoms persist when individuals leave the home?________________________

3.  Does anyone in the home have asthma? _____________________________________

4.  Does anyone in the home have allergies? ____________________________________

5.  Is anyone in the home sensitive or otherwise reactive to chemicals or smells? ____ _____________________________________________________________________

6.  Does anyone smoke inside this home? ______________________________________

7.  Do any pets (cats, dogs, birds, or other pets) live inside the home? ________________

_____________________________________________________________________

8.  Other Respiratory Illness? ________________________________________________

_____________________________________________________________________

_____________________________________________________________________

#### References

1.  Home Checklist and Action Plan Community Health Partnership in Albuquerque, NM http://www.energy.wsu.edu/ftpep/pubs/building/iaq/homes/checklists/home_ch.pdf

2.  Makah Indoor Air Quality Project Indoor Assessment Worksheet.

3.  University of Wisconsin Extension Indoor Air Quality Assessment Checklist.  http://cecommerce.uwex.edu/pdfs/B3439.PDF

#### Supplemental Sheets for Bathrooms and Bedrooms

#### Physical Address of Residence:____________________________________________

Date and Time: __________

Name of Person Conducting Assessment: _______________________________

#### Bathroom #2

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  	a.  Is there any evidence of moisture, mildew and/or mold on:

Walls?  Yes / No	Describe: _______________________________________

Floor?  Yes / No	Describe: _______________________________________

Ceiling?  Yes / No	Describe: ______________________________________

b. Check plumbing.  Is there any evidence of stains and/or leaks:

Sink?  Yes / No	Describe: _______________________________________

Toilet?  Yes / No	Describe: _______________________________________

Tub or shower?  Yes / No	Describe: ________________________________

Other?  Yes / No	Describe: _______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Type of venting: 	Exhaust Fan	Window	Other: ________________

a.  If exhaust fan, test and record flow readings: ______ (cfm)

b.  Describe exhaust fan condition:	Good	Fair	Poor

7.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

8.  Circle the cleaning products that you frequently in the bathroom:

Ammonia	Floor cleaners

Aerosol sprays	Oven cleaners

Air Fresheners	Scouring powders w/ bleach

Bleach products	Spot/Stain removers

Carpet shampoos	Tub/Tile cleaners

Disinfectants	Other: ________________

#### Bedroom #2

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  Is there any evidence of moisture, mildew and/or mold on:

a.  Walls?  Yes / No	Describe: _______________________________________

b.  Floor?  Yes / No	Describe: _______________________________________

c.  Ceiling?  Yes / No	Describe: ______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Are pets permitted on furniture?  Yes / No

7.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

8.  Circle the cleaning products that you frequently in the bedroom:

Air fresheners 	Furniture polish

Ammonia	Floor cleaners

Bleach products	Spot/Stain removers

Carpet shampoos	Other: ________________

Disinfectants

9.  Is there evidence of dust/particulate in the bedroom?  Yes / No	Describe: ______

__________________________________________________________________

#### Bedroom #3

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  Is there any evidence of moisture, mildew and/or mold on:

a.  Walls?  Yes / No	Describe: _______________________________________

b.  Floor?  Yes / No	Describe: _______________________________________

c.  Ceiling?  Yes / No	Describe: ______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Are pets permitted on furniture?  Yes / No

7.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

8.  Circle the cleaning products that you frequently in the bedroom:

Air fresheners 	Furniture polish

Ammonia	Floor cleaners

Bleach products	Spot/Stain removers

Carpet shampoos	Other: ________________

Disinfectants

9.  Is there evidence of dust/particulate in the bedroom?  Yes / No	Describe: ______

__________________________________________________________________

#### Bedroom #4

1.  Indoor temperature _____ ((F or (C)	Humidity _____ (%)	CO2 _____ (ppm)

2.  Type of flooring: 	Carpet	Tile	Wood	Linoleum	Other: ____________

3.  Is there any evidence of moisture, mildew and/or mold on:

a.  Walls?  Yes / No	Describe: _______________________________________

b.  Floor?  Yes / No	Describe: _______________________________________

c.  Ceiling?  Yes / No	Describe: ______________________________________

4.  Is the paint on the wall peeling?  Yes / No	Describe: ________________________

5.  Is the wallpaper becoming detached?  Yes / No	Describe: ____________________

6.  Are pets permitted on furniture?  Yes / No

7.  Describe the condition of the windows:	Good	Fair	Poor

Comments: ________________________________________________________

a.  Type of window(s):	Single pane	Double pane	Other: _____________

8.  Circle the cleaning products that you frequently in the bedroom:

Air fresheners 	Furniture polish

Ammonia	Floor cleaners

Bleach products	Spot/Stain removers

Carpet shampoos	Other: ________________

Disinfectants

9.  Is there evidence of dust/particulate in the bedroom?  Yes / No	Describe: ______

__________________________________________________________________